Matcher v5.2 Operational Qualification document

This document is designed to verify that the Matcher system will function according to it’s operational specifications in the selected environment

| Version | 5 |
| --- | --- |
| Created by | Ross Newman |
| Date created | 29-Apr-2021 |
| Updated by | - |
| Date updated | - |
| Centre |  |  |
| Date of OQ |  |  |
| Version |  |  |
| Reason for OQ |  |  |

CONFIGURATION SURVEY

| Task | Details | Pass | Fail | N/A |
| --- | --- | --- | --- | --- |
| Configuration survey information transposed into the Matcher system | Transfer the General Questions tab information to Matcher |  |  |  |
|  | Import and configure the information from the Products tab |  |  |  |
|  | Import and configure the procedures from the Process Maps tab |  |  |  |
|  | Import and configure the process maps from the Process Maps tab |  |  |  |

USERS

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Configuration survey information transposed into the Matcher system | New users created |  |  |
|  | New users assigned to correct user role groups |  |  |
|  | New users have usernames, passwords & email addresses assigned |  |  |

E-LEARNING

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Configuration survey information transposed into the Matcher system | User accounts registered in iSpring |  |  |
|  | Users assigned to their relevant courses |  |  |
|  | Course/login information communicated to customer/distributor |  |  |

OPERATIONAL CONFIGURATION

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Clinic settings | All fields have been reviewed (inc. scanners, timeouts, passwords) |  |  |
| Products | Scan item types are assigned to the correct products |  |  |
| Process Maps | Branch points exist where appropriate |  |  |
| Reference data | Donor/cryo item/cryo material types have the correct values |  |  |
| Cryostores | Check that correct tanks/levels have been created |  |  |

CYCLE TYPES AND CYCLE PLANS

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Cycle types | Cycle types are correctly listed and have the correct values |  |  |
| Cycle plans | Cycle plan templates are correctly linked to cycle types |  |  |
| Cycle plans | Cycle plans have the correct process maps listed on the correct days |  |  |

ID CARDS AND REPORTS

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| User ID card | Able to load User ID card report preview |  |  |
| Patient ID card | Able to load Patient ID card report preview |  |  |
| ID cards | Custom header lettering is correct and states ‘Matcher ID Security |  |  |
| Electronic ID cards | Email templates are created for patient and user e-ID cards |  |  |
| Cryo / UniTrack labels | Able to load cryo label sheet report preview |  |  |
| Non-cryo labels | Able to load non-cryo label sheet report preview |  |  |

Notes

(This section should include any anomalies or observations which could affect the operation of the system that are not already covered in the above sections)

| TASK | DETAILS | PASS | FAIL |
| --- | --- | --- | --- |
| Open Matcher application on a tablet PC | After powering on the tablet PC, does the Matcher application automatically launch with the log on window displayed fully in less than 20 seconds? After selecting the red ‘X’, does the application close fully in less than 5 seconds? After double-clicking the icon on the desktop, or opening via Start > Programs > Matcher > Matcher 5, does the log on window display fully in less than 20 seconds? |  |  |
| Open Matcher application on a customer’s existing PC | After double-clicking the icon on the desktop, or opening via Start > Programs > Matcher > Matcher 5, does the log on window display fully in less than 20 seconds? |  |  |
| Open Matcher application on a Pocket Matcher | After powering on the Pocket Matcher, does the Matcher application automatically launch with the log on window displayed fully in less than 20 seconds? After selecting to close the application, does the application close fully in less than 5 seconds? When you select the icon on the desktop, does the log on window display fully in less than 20 seconds? |  |  |
| Check database configuration and connection and log on | With Matcher running as an administrator select settings cog in top left corner, is the displayed database connection string correct? Is the correct database selected? After selecting OK to test connection, does it return you to the log on page? |  |  |
| Log on to a tablet PC | After logging on by entering a username and password and selecting OK does the application open fully within maximum 5 seconds? After logging on via scanning a user ID card does the application open fully within maximum 5 seconds? If a significant delay occurs, check database connection string again and network connection speed, restart Matcher application and try again Are at least the Patient List, Scheduler and Reports workspaces displayed? |  |  |
| Log onto a Pocket Matcher | After logging on by entering a username and password and selecting OK does the application open fully within maximum 5 seconds? After logging on via scanning a user ID card does the application open fully within maximum 5 seconds? Can you select an active patient from the patient list? If a significant delay occurs, check database connection string again and network connection speed, restart Matcher application and try again |  |  |
| Confirm Matcher clinic code and unique number are correct | When you navigate to Settings > Clinic and check field Matcher Clinic Code does it match with records in Matcher Licence Manager? |  |  |
| Check connected mini Benchtop Matcher is registered as a witnessing device | Is a mini Benchtop Matcher connected? Does the number of witnessing devices in the lower right-hand corner of the application display the correct number (and a minimum of 1)? |  |  |
| Verify Matcher application is running at fast, with minimal delay or lag between actions | Can you navigate between patients in the Patient List, open Patient Details, and then open Matcher Settings, all within maximum 5 seconds? If a delay occurs, make a note of the time taken to complete the actions, check the network connection speed, restart application and repeat test |  |  |
| Add a new manual test patient | Select ‘Add Patient’. Complete Patient Details and if possible, capture an image for the test record. Once completed, select OK Check the test patient has been saved in the patient list open the Details page and confirm all data entered is present |  |  |
| Confirm the test patient is still present after log off and back onto Matcher | Log off Matcher application and back on, search for the test patient using First Name, Last Name or Patient ID Confirm entry exists and all data entered is present |  |  |
| Link to external database | After selecting the Force Import button, does the search field turn green? Does a search for the number 1 return any patients from within the external database? |  |  |
| Open label reports to check DevExpress / ID Automation functionality | Navigate to a test patient and open a preview of a Non-Cryo label sheet. Does it display ok, including barcodes and reverse text? |  |  |
| Print Non-Cryo label reports | Is the Matcher printer named obviously in the dropdown of available printers? Can the correct Matcher printer be selected from the computer? Can the label sheet print? When printed does the sheet display all data correctly, including barcodes, Patient ID, Patient Names, etc? |  |  |
| Print Cryo/PGT label reports | Navigate to a test patient and open a preview of a Cryo/PGT label sheet for a freeze. Does it display ok? Is the Matcher printer named obviously in the dropdown of available printers? Can the correct Matcher printer be selected from the computer? Can the label sheet print? When printed does the sheet display all data correctly, including barcodes, Patient ID, Patient Names, etc? |  |  |
| Check label alignment, barcode quality and printer settings | Are Non-Cryo labels aligned well? Are Cryo/PGT labels aligned well? If not, adjust alignment using guidelines on label sheets, adjust alignment settings where appropriate Do the printer settings match the recommended values on Matcher Help website documentation? Media Type: Label, Resolution: HQ1200, Print Settings: Graphics, Improve Toner Fixing: Yes, Density Adjustment: -2 Note: if settings require changing, they must be changed as a Windows Administrator so they apply to all users Are scratch tests on barcodes and labels to ensure toner is fixed passed for Non-Cryo labels ok? Are scratch tests on barcodes and labels to ensure toner is fixed passed for Cryo/PGT labels ok? |  |  |
| Open photo ID card preview to confirm patient data, picture and clinic logo are all present | Are patient / partner name, images, clinic logo and/or name and 2D barcode all present? Print photo ID card to confirm functionality of the photo ID card printer. Are the images clear, can the barcode be read by the mini Benchtop Matcher and Pocket Matcher Check the photo ID card printer is NOT saved as the default printer After printing a photo ID card can a label sheet be printed without defaulting back to the photo ID card printer? |  |  |
| Add a cycle for a test patient and witnessing with a mini Benchtop Matcher | Open a new ‘ICSI with Fresh Oocytes – Fresh Sperm (Major)’ cycle for a test patient, and if necessary print new Non-Cryo labels Can you complete at least 1 No Match? Is the No Match result sound playing, and the volume on maximum? Can you perform a minimum of 3 witnessing steps from the Cycle Plan using multiple types of dish/tube/straw with barcodes reading easily? Is the Match Confirmed result sound playing? Are the photos captured of good quality with the printed text clearly legible? |  |  |
| Witnessing with a Pocket Matcher | Can you complete at least 1 No Match? Is the No Match result sound playing, and the volume on maximum? Can you perform a minimum of 3 witnessing steps from the Cycle Plan using multiple types of dish/tube/straw with barcodes reading easily? Is the Match Confirmed result sound playing? Are the photos captured of good quality with the printed text clearly legible? After completing the Benchtop and Pocket Matcher steps above, can you end the cycle? |  |  |
| Fingerprint Witnessing | Is the Fingerprint Scanner recognised by the system once it has been plugged in by USB? Does the device light up when a finger is placed on it? Can you register a fingerprint successfully? Can you perform a fingerprint witness step successfully? |  |  |
| End cycle | After completing the Benchtop and Pocket Matcher steps above, can you end the cycle? |  |  |
| Fail Notes | Where any areas has failed to meet the criteria, please enter the question number and the reasoning for the failure in the text box below: |  |  |
| Matcher implementation sign-off | If all criteria has been met to sign-off the system ready for use, please enter your name and the sign-off date in the box below, including any additional relevant notes: |  |  |

FOLLOW UP

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Follow-up quality call | Arrange a follow-up call with the customer to check all is ok |  |  |

POST-CONFIGURATION TASKS

| Task | Details | Pass | Fail |
| --- | --- | --- | --- |
| Update Pipedrive | Input note into Pipedrive with details of the OQ and dates |  |  |
| Update MS Planner | Input OQ details and update MS Planner OQ card |  |  |

Notes

(This section should include any anomalies or observations which could affect the operation of the system that are not already covered in the above sections)